Checklist for Personnel

Terminal Personnel - Orientation Check List

r 1. Equipment orientation

r 2. Cover new or modified procedures (accounting etc.)

r 3. Cover safety and firefighting information

r 4. Issue/post Material Safety Data Sheet (MSDS) (available from your ethanol

supplier)

r 5. Cover product receipt procedure

r 6. Cover any procedure regarding product inspection and/or sample retention

r 7. Advise maintenance personnel of conversion and potential for filter/screen

plugging

r 8. Test affected meters and recalibrate if needed (10 to 14 days after initial

conversion)

Transportation Personnel - Orientation Check List

Inbound Ethanol Delivery

r 1. Cover product delivery procedures

r 2. Cover applicable firefighting & safety procedures

r 3. Issue Material Safety Data Sheet (MSDS) (available from your ethanol supplier)

r 4. Placard requirements

r 5. Discuss approved prior commodities hauled

Outbound Blended Product Delivery

r 1. Cover information on new terminal blending equipment

r 2. Cover splash blending procedure (if applicable)

r 3. Cover color codes (API or company specific color codes)

r 4. Discuss need to test for water bottoms and what procedures to follow when

water bottoms are present. Any level of water above 1/4" should be removed.

r 5. Assuming no water bottoms are present, the load can be dropped per normal

procedure.

Fuel Ethanol

Industry Guidelines, Specifications, and Procedures (revised 10/05)

Conversion Procedures

r 1. Review conversion procedures

r 2. Review any special requirements & resulting increase in transportation demands

r 3. Stress importance of no water bottoms

r 4. Cover importance of accurate blend ratios